## Slide 2: Going for better gaincal results
Suspect that contributing factor to inaccuracy of gain calibration is the fitting algorithm
Tried doing an interpolation on the underlying Vcal vs. ADC graph instead of a fit
(this is from SPS data: untrimmed detectors)

## Slide 3: Before
Required exactly 2 hits along Y
3T
No B

## Slide 4: Before
Required >= 2 hits along Y
3T
No B

## Slide 5: After
Nhits == 2
Still not perfect
No B
3T

## Slide 6: After
3T
No B

## Slide 7: After
From reduced

## Slide 8: After
Red: Theory (based on mobility in H. Kagan’s Paper