## Slide 1: PLT User Interface Proposal
Matt Hollingsworth

## Slide 2: Python-Based Web GUI
Core functionality
  All functionality of startup scripts (Pulls DACs from DB)
  Run calibrations
  Start data runs
  Tie all of the above together in the DB
Utilizes plt python library for doing the work
  Wrapper over existing C++ code
  All functionality can have a corresponding command line utility as well
Runs calibrations as a collection in a given sequence
  Run, validate, run, validate…
State machine integrated
  Global run in “Configuring” state shows configuration panel, in “Calibrating” state shows calibration panel etc.
  One global run allowed at a time (all others in DB must be in “stopped” state)
Later features
  Dynamic feedback/DQM for calibrations
  Monitoring of data runs
  Plots
  Etc.

## Slide 3
Much of the core functionality exists already but hasn’t been tested
Need working test stand with someone around to power cycle and a way to get scope traces for development

## Slide 4: Database
Use ORM so that db backend is flexible (starts off with sqlite3, can switch to oracle or MySQL later)
DB can be populated from files (each import is associated with a configuration ID)
Calibration runs are collected together into a CalibrationSet
CalibrationSets are associated with data runs
Raw calibration results saved into root files
Root files versioned with Anthony’s framework
High level results (fit coefficients, etc) saved directly into DB

## Slide 5: XDAQ Proxy
If deemed necessary, we can develop an xdaq proxy to the system
Communicates with the primary system via SOAP messages
Contains basic state machine, leaving the main work to the core server process

## Slide 6: XDAQ Proxy